## Hormones
Lot number | OD | ng/ml | IU/ml | mIU/L | Result | Manufacturer | Test Number | Test Description | Method | Stock | Matrix | Donor ID
Ab-E22663 | 1.135 | 4.02 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 4126.5 | Plasma | N/A
Ab-E23036 | 0.318 | 464.11 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 4115.4 | Plasma | N/A
Ab-E22846 | 0.565 | 110.4 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3883.7 | Plasma | N/A
Ab-E23181 | 0.528 | 136.89 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3829 | Plasma | N/A
Ab-E22648 | 0.561 | 112.99 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3770.7 | Plasma | N/A
Ab-E22768 | 0.604 | 88 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3429.7 | Plasma | N/A
Ab-E22861 | 0.757 | 36.15 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3425.3 | Plasma | N/A
Ab-E22568 | 0.38 | 323.65 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3343.5 | Plasma | N/A
Ab-E22843 | 0.532 | 133.74 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3292 | Plasma | N/A
Ab-E22567 | 0.327 | 440.45 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3228.1 | Plasma | N/A
Ab-E22838 | 0.552 | 119.06 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3223.6 | Plasma | N/A
Ab-E22842 | 0.54 | 127.67 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3204.4 | Plasma | N/A
Ab-E22849 | 0.547 | 122.57 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3200.3 | Plasma | N/A
Ab-E23162 | 0.648 | 68.14 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3139.8 | Plasma | N/A
Ab-E22691 | 0.759 | 35.74 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3027.6 | Plasma | N/A
Ab-E22774 | 0.511 | 151.11 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3011.3 | Plasma | N/A
Ab-E23040 | 1.433 | 0.71 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 3006.1 | Plasma | N/A
Ab-E22766 | 0.398 | 291.49 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2996.4 | Plasma | N/A
Ab-E22859 | 0.573 | 105.38 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2989.5 | Plasma | N/A
Ab-E22666 | 0.887 | 16.98 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2918.7 | Plasma | N/A
Ab-E22770 | 0.499 | 162.03 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2900 | Plasma | N/A
Ab-E23111 | 0.423 | 252.06 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2838.5 | Plasma | N/A
Ab-E22885 | 0.774 | 32.75 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2800.3 | Plasma | N/A
Ab-E22654 | 0.764 | 34.71 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2783.4 | Plasma | N/A
Ab-E22564 | 0.663 | 62.45 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2780.4 | Plasma | N/A
Ab-E22839 | 0.689 | 53.69 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2750.2 | Plasma | N/A
Ab-E22653 | 0.507 | 154.67 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2717.2 | Plasma | N/A
Ab-E22840 | 0.653 | 66.18 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2669.9 | Plasma | N/A
Ab-E23115 | 0.682 | 55.92 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2589 | Plasma | N/A
Ab-E22850 | 0.531 | 134.52 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2578 | Plasma | N/A
Ab-E23107 | 0.722 | 44.31 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2550.4 | Plasma | N/A
Ab-E22573 | 0.518 | 145.09 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2530.9 | Plasma | N/A
Ab-E23165 | 1.193 | 2.87 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2479.8 | Plasma | N/A
Ab-E22637 | 0.74 | 39.91 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2397.6 | Plasma | N/A
Ab-E22635 | 0.405 | 279.86 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2356.3 | Plasma | N/A
Ab-E22570 | 0.745 | 38.77 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2342.5 | Plasma | N/A
Ab-E23033 | 0.685 | 54.95 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2280.4 | Plasma | N/A
Ab-E23108 | 1.074 | 5.72 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2197.3 | Plasma | N/A
Ab-E22862 | 0.277 | 589.04 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2142.4 | Plasma | N/A
Ab-E22631 | 0.616 | 82.07 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2141.9 | Plasma | N/A
Ab-E22858 | 0.627 | 76.98 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2099.7 | Plasma | N/A
Ab-E23163 | 1.247 | 2.09 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 2005 | Plasma | N/A
Ab-E23110 | 0.402 | 284.79 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1884.7 | Plasma | N/A
Ab-E23166 | 0.543 | 125.46 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1835 | Plasma | N/A
Ab-E23180 | 0.754 | 36.79 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1797.6 | Plasma | N/A
Ab-E22864 | 0.604 | 88 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1742.2 | Plasma | N/A
Ab-E22860 | 1.348 | 1.16 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1705.5 | Plasma | N/A
Ab-E22569 | 0.864 | 19.41 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1705.3 | Plasma | N/A
Ab-E22571 | 0.337 | 415.57 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1698.3 | Plasma | N/A
Ab-E22572 | 0.492 | 168.76 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1679 | Plasma | N/A
Ab-E22577 | 0.573 | 105.38 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1632.5 | Plasma | N/A
Ab-E23035 | 0.389 | 307.15 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1615.5 | Plasma | N/A
Ab-E22690 | 0.57 | 107.23 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1592.4 | Plasma | N/A
Ab-E23160 | 0.63 | 75.65 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1512.1 | Plasma | N/A
Ab-E22655 | 1.256 | 1.99 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1219.9 | Plasma | N/A
Ab-E22629 | 0.51 | 151.99 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 972.9 | Plasma | N/A
Ab-E22630 | 0.381 | 321.77 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 947.3 | Plasma | N/A
Ab-E23179 | 0.735 | 41.09 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 899.2 | Plasma | N/A
Ab-E23113 | 0.46 | 203.27 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 863.5 | Plasma | N/A
Ab-E22634 | 1.095 | 5.07 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 823.5 | Plasma | N/A
Ab-E23426 | 0.6 | 90.07 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 560 | Plasma | N/A
Ab-E22863 | 0.594 | 93.27 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 505.3 | Plasma | N/A
Ab-E23116 | 0.635 | 73.49 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 503 | Plasma | N/A
Ab-E22646 | 0.565 | 110.4 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 475.8 | Plasma | N/A
Ab-E22647 | 0.498 | 162.98 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 444.8 | Plasma | N/A
Ab-E22775 | 0.399 | 289.8 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 438 | Plasma | N/A
Ab-E23034 | 0.481 | 179.91 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 413.6 | Plasma | N/A
Ab-E22857 | 0.317 | 466.81 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 363.1 | Plasma | N/A
Ab-E23161 | 0.411 | 270.27 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 348.7 | Plasma | #REF!
Ab-E23117 | 1.959 | 0.03 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 343 | Plasma | N/A
Ab-E23164 | 0.576 | 103.56 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 326.7 | Plasma | N/A
Ab-E22767 | 0.756 | 36.36 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 296.1 | Plasma | N/A
Ab-E22845 | 0.689 | 53.69 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 34 | Plasma | N/A
Ab-E23454 | 0.57 | 107.23 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 8 | Plasma | N/A
Ab-E22856 | 0.454 | 210.49 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 6 | Plasma | N/A
Ab-E23038 | 0.525 | 139.3 |  |  |  | Demeditec | K4323 | cortisol | Competitive ELISA | 1 | Plasma | N/A
Ab-E20218 | -0.02 |  | -0.46 |  |  | FineTest | K3463 | Human HP | ELISA | 154 | Serum | N/A
Ab-E19306 | 1.68 |  | 7.16 |  |  | FineTest | K3463 | Human HP | ELISA | 135.7 | Serum | DBN-4403049
Ab-E20234 | 2.69 |  | 17.01 |  |  | FineTest | K3463 | Human HP | ELISA | 103 | Serum | N/A
Ab-E20288 | 0.6 |  | 1.96 |  |  | FineTest | K3463 | Human HP | ELISA | 46.4 | Serum | N/A
Ab-E20273 | 0.69 |  | 2.33 |  |  | FineTest | K3463 | Human HP | ELISA | 25.8 | Serum | N/A
Ab-E16649 | 2.42 |  | 12.8 |  |  | FineTest | K3463 | Human HP | ELISA | 11.1 | Serum | DBN-4402830
Ab-E20233 | 0.92 |  | 3.33 |  |  | FineTest | K3463 | Human HP | ELISA | 7.3 | Serum | N/A
Ab-E18509 | 2.63 |  | 15.63 |  |  | FineTest | K3463 | Human HP | ELISA | 5 | Serum | DBN-4403413
Ab-E16601 | 2.72 |  | 18.53 |  |  | FineTest | K3463 | Human HP | ELISA | 4 | Serum | DBN-4402813
Ab-E18513 | 2.75 |  | 18 |  |  | FineTest | K3463 | Human HP | ELISA | 4 | Serum | DBN-4403417
Ab-E18512 | 2.58 |  | 14.93 |  |  | FineTest | K3463 | Human HP | ELISA | 4 | Serum | DBN-4403416
Ab-E21121 | -0.04 |  | -0.53 |  |  | FineTest | K3463 | Human HP | ELISA | 3 | Serum | N/A
Ab-E21243 | 0.14 |  | 0.15 |  |  | FineTest | K3463 | Human HP | ELISA | 3 | Serum | N/A
Ab-E21239 | 0.1 |  | 0.01 |  |  | FineTest | K3463 | Human HP | ELISA | 2.8 | Serum | N/A
Ab-E16607 | 2.8 |  | 16.25 |  |  | FineTest | K3463 | Human HP | ELISA | 2 | Serum | DBN-4402815
Ab-E21385 | -0.01 |  | -0.4 |  |  | FineTest | K3463 | Human HP | ELISA | 1 | Serum | DBN-4403658
Ab-E21179 | -0.06 |  | -0.58 |  |  | FineTest | K3463 | Human HP | ELISA | 1 | Serum | DBN-4402546
Ab-E21203 | 0.1 |  | -0.02 |  |  | FineTest | K3463 | Human HP | ELISA | 1 | Serum | DBN-4403329
Ab-E20295 | 0.46 |  | 1.39 |  |  | FineTest | K3463 | Human HP | ELISA | 1 | Serum | N/A
Ab-E19650 | 1.83 |  | 8.09 |  |  | FineTest | K3463 | Human HP | ELISA | 1 | Serum | N/A
Ab-E20283 | 2.27 |  | 11.32 |  |  | FineTest | K3463 | Human HP | ELISA | 1 | Serum | N/A
Ab-E20764 | 0.59 |  | 1.91 |  |  | FineTest | K3463 | Human HP | ELISA | 1 | Serum | DBN-4403470
Ab-E21173 | 1.69 |  | 7.23 |  |  | FineTest | K3463 | Human HP | ELISA | 1 | Serum | DBN-4403675
Ab-E20211 | 0.38 |  | 1.06 |  |  | FineTest | K3463 | Human HP | ELISA | 1 | Serum | N/A
Ab-E18516 | 2.71 |  | 17.67 |  |  | FineTest | K3463 | Human HP | ELISA | 1 | Serum | DBN-4403419
Ab-E21168 | 2.75 |  | 17.87 |  |  | FineTest | K3463 | Human HP | ELISA | 1 | Serum | DBN-4403640
Ab-E22895 | 0.224 |  |  | -0.04 | low | DRG | K3991 | TSH | ELISA | 5824.7 | Plasma | N/A
Ab-E23372 | 0.022 |  |  | 5.21 |  | Demeditec | K4300 | TSH | ELISA | 5641.1 | Plasma | N/A
Ab-E22663 | 0.16 |  |  | 2.33 |  | Demeditec | K4323 | TSH | ELISA | 4126.5 | Plasma | N/A
Ab-E23036 | 0.07 |  |  | 1.04 |  | Demeditec | K4323 | TSH | ELISA | 4125.4 | Plasma | N/A
Ab-E23179 | 0.119 |  |  | 1.74 |  | Demeditec | K4323 | TSH | ELISA | 4123.2 | Plasma | N/A
Ab-E23181 | 0.042 |  |  | 0.62 |  | Demeditec | K4323 | TSH | ELISA | 4054 | Plasma | N/A
Ab-E22892 | 0.247 |  |  | 1.8 | Normal range | DRG | K3991 | TSH | ELISA | 3967 | Plasma | N/A
Ab-E23344 | 0.013 |  |  | 2.54 |  | Demeditec | K4300 | TSH | ELISA | 3933.4 | Plasma | N/A
Ab-E22861 | 0.147 |  |  | 2.14 |  | Demeditec | K4323 | TSH | ELISA | 3925.3 | Plasma | N/A
Ab-E23341 | 0.015 |  |  | 3.14 |  | Demeditec | K4300 | TSH | ELISA | 3923.1 | Plasma | N/A
Ab-E22846 | 0.037 |  |  | 0.55 |  | Demeditec | K4323 | TSH | ELISA | 3913.7 | Plasma | N/A
Ab-E21958 | 0.258 |  |  | 0.81 | Normal range | Demeditec | k3709 | TSH | ELISA | 3904.3 | Plasma | N/A
Ab-E22893 | 0.22 |  |  | -0.36 | low | DRG | K3991 | TSH | ELISA | 3876.5 | Plasma | N/A
Ab-E22876 | 0.233 |  |  | 0.68 | Normal range | DRG | K3991 | TSH | ELISA | 3805.7 | Plasma | N/A
Ab-E23024 | 0.317 |  |  | 7.46 | Elevated | DRG | K3991 | TSH | ELISA | 3771.5 | Plasma | N/A
Ab-E22648 | 0.06 |  |  | 0.89 |  | Demeditec | K4323 | TSH | ELISA | 3770.7 | Plasma | N/A
Ab-E23373 | 0.014 |  |  | 2.84 |  | Demeditec | K4300 | TSH | ELISA | 3672.4 | Plasma | N/A
Ab-E23317 | 0.011 |  |  | 1.94 |  | Demeditec | K4300 | TSH | ELISA | 3651.6 | Plasma | N/A
Ab-E23649 | 0.051 |  |  | 0.75 | Normal range | Demeditec | K43240 | TSH | ELISA | 3593.6 | Plasma | N/A
Ab-E23375 | 0.015 |  |  | 3.14 |  | Demeditec | K4300 | TSH | ELISA | 3507.5 | Plasma | N/A
Ab-E22689 | 0.014 |  |  | 0.21 |  | Demeditec | K4323 | TSH | ELISA | 3459.1 | Plasma | N/A
Ab-E23338 | 0.016 |  |  | 3.44 |  | Demeditec | K4300 | TSH | ELISA | 3449.8 | Plasma | N/A
Ab-E22872 | 0.205 |  |  | -1.56 | low | DRG | K3991 | TSH | ELISA | 3435.6 | Plasma | N/A
Ab-E22768 | 0.04 |  |  | 0.59 |  | Demeditec | K4323 | TSH | ELISA | 3429.7 | Plasma | N/A
Ab-E22567 | 0.026 |  |  | 0.39 |  | Demeditec | K4323 | TSH | ELISA | 3428.1 | Plasma | N/A
Ab-E23020 | 0.246 |  |  | 1.72 | Normal range | DRG | K3991 | TSH | ELISA | 3424.6 | Plasma | N/A
Ab-E22666 | 0.085 |  |  | 1.25 |  | Demeditec | K4323 | TSH | ELISA | 3418.7 | Plasma | N/A
Ab-E23650 | 0.04 |  |  | 0.54 | Normal range | Demeditec | K43240 | TSH | ELISA | 3404.3 | Plasma | N/A
Ab-E23345 | 0.016 |  |  | 3.44 |  | Demeditec | K4300 | TSH | ELISA | 3371 | Plasma | N/A
Ab-E22568 | 0.042 |  |  | 0.62 |  | Demeditec | K4323 | TSH | ELISA | 3343.5 | Plasma | N/A
Ab-E22654 | 0.052 |  |  | 0.77 |  | Demeditec | K4323 | TSH | ELISA | 3308.4 | Plasma | N/A
Ab-E22843 | 0.041 |  |  | 0.61 |  | Demeditec | K4323 | TSH | ELISA | 3292 | Plasma | N/A
Ab-E22564 | 0.028 |  |  | 0.42 |  | Demeditec | K4323 | TSH | ELISA | 3280.4 | Plasma | N/A
Ab-E22913 | 0.278 |  |  | 4.3 | Elevated | DRG | K3991 | TSH | ELISA | 3267.1 | Plasma | N/A
Ab-E22842 | 0.043 |  |  | 0.64 |  | Demeditec | K4323 | TSH | ELISA | 3239.4 | Plasma | N/A
Ab-E22914 | 0.219 |  |  | -0.44 | low | DRG | K3991 | TSH | ELISA | 3236 | Plasma | N/A
Ab-E22838 | 0.046 |  |  | 0.68 |  | Demeditec | K4323 | TSH | ELISA | 3233.6 | Plasma | N/A
Ab-E23407 | 0.011 |  |  | 1.94 |  | Demeditec | K4300 | TSH | ELISA | 3225.8 | Plasma | N/A
Ab-E23416 | 0.015 |  |  | 3.14 |  | Demeditec | K4300 | TSH | ELISA | 3222.1 | Plasma | N/A
Ab-E23040 | 0.067 |  |  | 0.99 |  | Demeditec | K4323 | TSH | ELISA | 3216.1 | Plasma | N/A
Ab-E22849 | 0.234 |  |  | 3.36 |  | Demeditec | K4323 | TSH | ELISA | 3210.3 | Plasma | N/A
Ab-E23028 | 0.707 |  |  | 40.5 | Elevated | DRG | K3991 | TSH | ELISA | 3168.6 | Plasma | N/A
Ab-E23417 | 0.013 |  |  | 2.54 |  | Demeditec | K4300 | TSH | ELISA | 3106 | Plasma | N/A
Ab-E22635 | 0.011 |  |  | 0.16 |  | Demeditec | K4323 | TSH | ELISA | 3081.3 | Plasma | N/A
Ab-E23367 | 0.032 |  |  | 8.08 |  | Demeditec | K4300 | TSH | ELISA | 3066 | Plasma | N/A
Ab-E23019 | 0.238 |  |  | 1.08 | Normal range | DRG | K3991 | TSH | ELISA | 3064.4 | Plasma | N/A
Ab-E23111 | 0.082 |  |  | 1.21 |  | Demeditec | K4323 | TSH | ELISA | 3038.5 | Plasma | N/A
Ab-E23342 | 0.018 |  |  | 4.03 |  | Demeditec | K4300 | TSH | ELISA | 3023.3 | Plasma | N/A
Ab-E23027 | 0.671 |  |  | 37.33 | Elevated | DRG | K3991 | TSH | ELISA | 3020.5 | Plasma | N/A
Ab-E22774 | 0.173 |  |  | 2.51 |  | Demeditec | K4323 | TSH | ELISA | 3011.3 | Plasma | N/A
Ab-E23653 | 0.057 |  |  | 0.86 | Normal range | Demeditec | K43240 | TSH | ELISA | 3011.2 | Plasma | N/A
Ab-E22766 | 0.162 |  |  | 2.36 |  | Demeditec | K4323 | TSH | ELISA | 2996.4 | Plasma | N/A
Ab-E23021 | 0.724 |  |  | 42 | Elevated | DRG | K3991 | TSH | ELISA | 2992.9 | Plasma | N/A
Ab-E22859 | 0.183 |  |  | 2.65 |  | Demeditec | K4323 | TSH | ELISA | 2989.5 | Plasma | N/A
Ab-E23647 | 0.07 |  |  | 1.11 | Normal range | Demeditec | K43240 | TSH | ELISA | 2979.7 | Plasma | N/A
Ab-E22885 | 0.347 |  |  | 4.88 |  | Demeditec | K4323 | TSH | ELISA | 2970.3 | Plasma | N/A
Ab-E23370 | 0.009 |  |  | 1.33 |  | Demeditec | K4300 | TSH | ELISA | 2944 | Plasma | N/A
Ab-E23335 | 0.017 |  |  | 3.74 |  | Demeditec | K4300 | TSH | ELISA | 2939.2 | Plasma | N/A
Ab-E22691 | 0.281 |  |  | 4 |  | Demeditec | K4323 | TSH | ELISA | 2937.6 | Plasma | N/A
Ab-E23312 | 0.017 |  |  | 3.74 |  | Demeditec | K4300 | TSH | ELISA | 2925.9 | Plasma | N/A
Ab-E22770 | 0.081 |  |  | 1.2 |  | Demeditec | K4323 | TSH | ELISA | 2925 | Plasma | N/A
Ab-E23412 | 0.013 |  |  | 2.54 |  | Demeditec | K4300 | TSH | ELISA | 2907.5 | Plasma | N/A
Ab-E23369 | 0.013 |  |  | 2.54 |  | Demeditec | K4300 | TSH | ELISA | 2905.7 | Plasma | N/A
Ab-E23413 | 0.011 |  |  | 1.94 |  | Demeditec | K4300 | TSH | ELISA | 2900.9 | Plasma | N/A
Ab-E22959 | 0.214 |  |  | -0.84 | low | DRG | K3991 | TSH | ELISA | 2888.1 | Plasma | N/A
Ab-E23318 | 0.01 |  |  | 1.63 |  | Demeditec | K4300 | TSH | ELISA | 2811.4 | Plasma | N/A
Ab-E22839 | 0.215 |  |  | 3.1 |  | Demeditec | K4323 | TSH | ELISA | 2760.2 | Plasma | N/A
Ab-E22573 | 0.026 |  |  | 0.39 |  | Demeditec | K4323 | TSH | ELISA | 2730.9 | Plasma | N/A
Ab-E23651 | 0.056 |  |  | 0.85 | Normal range | Demeditec | K43240 | TSH | ELISA | 2729 | Plasma | N/A
Ab-E22894 | 0.231 |  |  | 0.52 | Normal range | DRG | K3991 | TSH | ELISA | 2721.7 | Plasma | N/A
Ab-E22653 | 0.011 |  |  | 0.16 |  | Demeditec | K4323 | TSH | ELISA | 2717.2 | Plasma | N/A
Ab-E23035 | 0.032 |  |  | 0.48 |  | Demeditec | K4323 | TSH | ELISA | 2715.5 | Plasma | N/A
Ab-E23108 | 0.653 |  |  | 8.75 |  | Demeditec | K4323 | TSH | ELISA | 2712.3 | Plasma | N/A
Ab-E23115 | 0.348 |  |  | 4.9 |  | Demeditec | K4323 | TSH | ELISA | 2689 | Plasma | N/A
Ab-E23411 | 0.014 |  |  | 2.84 |  | Demeditec | K4300 | TSH | ELISA | 2654 | Plasma | N/A
Ab-E22911 | 0.213 |  |  | -0.92 | low | DRG | K3991 | TSH | ELISA | 2629.3 | Plasma | N/A
Ab-E23107 | 0.157 |  |  | 2.29 |  | Demeditec | K4323 | TSH | ELISA | 2606.4 | Plasma | N/A
Ab-E22858 | 0.042 |  |  | 0.62 |  | Demeditec | K4323 | TSH | ELISA | 2599.7 | Plasma | N/A
Ab-E22888 | 0.283 |  |  | 4.7 | Elevated | DRG | K3991 | TSH | ELISA | 2597.5 | Plasma | N/A
Ab-E22690 | 0.05 |  |  | 0.74 |  | Demeditec | K4323 | TSH | ELISA | 2592.4 | Plasma | N/A
Ab-E22850 | 0.038 |  |  | 0.56 |  | Demeditec | K4323 | TSH | ELISA | 2588 | Plasma | N/A
Ab-E23366 | 0.013 |  |  | 2.54 |  | Demeditec | K4300 | TSH | ELISA | 2549.2 | Plasma | N/A
Ab-E23368 | 0.017 |  |  | 3.74 |  | Demeditec | K4300 | TSH | ELISA | 2545 | Plasma | N/A
Ab-E23374 | 0.015 |  |  | 3.14 |  | Demeditec | K4300 | TSH | ELISA | 2538.9 | Plasma | N/A
Ab-E22688 | 0.05 |  |  | 0.74 |  | Demeditec | K4323 | TSH | ELISA | 2530.7 | Plasma | N/A
Ab-E23160 | 0.113 |  |  | 1.66 |  | Demeditec | K4323 | TSH | ELISA | 2522.1 | Plasma | N/A
Ab-E23163 | 0.06 |  |  | 0.89 |  | Demeditec | K4323 | TSH | ELISA | 2505 | Plasma | N/A
Ab-E23165 | 0.034 |  |  | 0.51 |  | Demeditec | K4323 | TSH | ELISA | 2504.8 | Plasma | N/A
Ab-E23022 | 0.201 |  |  | -1.88 | low | DRG | K3991 | TSH | ELISA | 2494.4 | Plasma | N/A
Ab-E22964 | 0.211 |  |  | -1.08 | low | DRG | K3991 | TSH | ELISA | 2492.7 | Plasma | N/A
Ab-E23026 | 0.792 |  |  | 48.07 | Elevated | DRG | K3991 | TSH | ELISA | 2485.3 | Plasma | N/A
Ab-E23313 | 0.024 |  |  | 5.79 |  | Demeditec | K4300 | TSH | ELISA | 2477.7 | Plasma | N/A
Ab-E23029 | 0.207 |  |  | -1.4 | low | DRG | K3991 | TSH | ELISA | 2459.2 | Plasma | N/A
Ab-E22864 | 0.054 |  |  | 0.8 |  | Demeditec | K4323 | TSH | ELISA | 2442.2 | Plasma | N/A
Ab-E23110 | 0.111 |  |  | 1.63 |  | Demeditec | K4323 | TSH | ELISA | 2434.7 | Plasma | N/A
Ab-E22637 | 0.083 |  |  | 1.22 |  | Demeditec | K4323 | TSH | ELISA | 2407.6 | Plasma | N/A
Ab-E23018 | 0.185 |  |  | -3.15 | low | DRG | K3991 | TSH | ELISA | 2397.6 | Plasma | N/A
Ab-E22886 | 0.237 |  |  | 1 | Normal range | DRG | K3991 | TSH | ELISA | 2370.9 | Plasma | N/A
Ab-E22840 | 2.147 |  |  | >15 |  | Demeditec | K4323 | TSH | ELISA | 2369.9 | Plasma | N/A
Ab-E23410 | 0.011 |  |  | 1.94 |  | Demeditec | K4300 | TSH | ELISA | 2355.3 | Plasma | N/A
Ab-E23426 | 0.08 |  |  | 1.18 |  | Demeditec | K4323 | TSH | ELISA | 2354.9 | Plasma | N/A
Ab-E23409 | 0.012 |  |  | 2.24 |  | Demeditec | K4300 | TSH | ELISA | 2348.2 | Plasma | N/A
Ab-E23415 | 0.01 |  |  | 1.63 |  | Demeditec | K4300 | TSH | ELISA | 2344.2 | Plasma | N/A
Ab-E22570 | 0.023 |  |  | 0.34 |  | Demeditec | K4323 | TSH | ELISA | 2342.5 | Plasma | N/A
Ab-E23166 | 0.02 |  |  | 0.3 |  | Demeditec | K4323 | TSH | ELISA | 2335 | Plasma | N/A
Ab-E23310 | 0.014 |  |  | 2.84 |  | Demeditec | K4300 | TSH | ELISA | 2332.4 | Plasma | N/A
Ab-E23337 | 0.024 |  |  | 5.79 |  | Demeditec | K4300 | TSH | ELISA | 2329.2 | Plasma | N/A
Ab-E22577 | 0.147 |  |  | 2.14 |  | Demeditec | K4323 | TSH | ELISA | 2328.9 | Plasma | N/A
Ab-E23033 | 0.124 |  |  | 1.82 |  | Demeditec | K4323 | TSH | ELISA | 2315.4 | Plasma | N/A
Ab-E23648 | 0.067 |  |  | 1.05 | Normal range | Demeditec | K43240 | TSH | ELISA | 2246.1 | Plasma | N/A
Ab-E23406 | 0.015 |  |  | 3.14 |  | Demeditec | K4300 | TSH | ELISA | 2236 | Plasma | N/A
Ab-E23320 | 0.01 |  |  | 1.63 |  | Demeditec | K4300 | TSH | ELISA | 2198.3 | Plasma | N/A
Ab-E22571 | 0.032 |  |  | 0.48 |  | Demeditec | K4323 | TSH | ELISA | 2198.3 | Plasma | N/A
Ab-E22862 | 0.046 |  |  | 0.68 |  | Demeditec | K4323 | TSH | ELISA | 2177.4 | Plasma | N/A
Ab-E23582 | 0.137 |  |  | 2.35 | Normal range | Demeditec | K43240 | TSH | ELISA | 2173.5 | Plasma | N/A
Ab-E22631 | 0.074 |  |  | 1.09 |  | Demeditec | K4323 | TSH | ELISA | 2141.9 | Plasma | N/A
Ab-E22767 | 2.671 |  |  | >15 |  | Demeditec | K4323 | TSH | ELISA | 2103.7 | Plasma | N/A
Ab-E23414 | 0.015 |  |  | 3.14 |  | Demeditec | K4300 | TSH | ELISA | 2079.5 | Plasma | N/A
Ab-E22889 | 0.293 |  |  | 5.51 | Elevated | DRG | K3991 | TSH | ELISA | 2070.1 | Plasma | N/A
Ab-E23371 | 0.015 |  |  | 3.14 |  | Demeditec | K4300 | TSH | ELISA | 2067.1 | Plasma | N/A
Ab-E23340 | 0.019 |  |  | 4.33 |  | Demeditec | K4300 | TSH | ELISA | 2066.9 | Plasma | N/A
Ab-E23178 | 0.033 |  |  | 0.49 |  | Demeditec | K4323 | TSH | ELISA | 1975.8 | Plasma | N/A
Ab-E23408 | 0.013 |  |  | 2.54 |  | Demeditec | K4300 | TSH | ELISA | 1862.3 | Plasma | N/A
Ab-E23180 | 0.027 |  |  | 0.4 |  | Demeditec | K4323 | TSH | ELISA | 1807.6 | Plasma | N/A
Ab-E22574 | 0.008 |  |  | 0.12 |  | Demeditec | K4323 | TSH | ELISA | 1797.3 | Plasma | N/A
Ab-E22775 | 0.021 |  |  | 0.31 |  | Demeditec | K4323 | TSH | ELISA | 1741.5 | Plasma | N/A
Ab-E22655 | 0.16 |  |  | 2.33 |  | Demeditec | K4323 | TSH | ELISA | 1719.9 | Plasma | N/A
Ab-E22569 | 0.031 |  |  | 0.46 |  | Demeditec | K4323 | TSH | ELISA | 1715.3 | Plasma | N/A
Ab-E22860 | 0.037 |  |  | 0.55 |  | Demeditec | K4323 | TSH | ELISA | 1705.5 | Plasma | N/A
Ab-E22958 | 0.204 |  |  | -1.64 | low | DRG | K3991 | TSH | ELISA | 1690.3 | Plasma | N/A
Ab-E22572 | 0.13 |  |  | 1.9 |  | Demeditec | K4323 | TSH | ELISA | 1679 | Plasma | N/A
Ab-E23316 | 0.014 |  |  | 2.84 |  | Demeditec | K4300 | TSH | ELISA | 1666.8 | Plasma | N/A
Ab-E22955 | 0.217 |  |  | -0.6 | low | DRG | K3991 | TSH | ELISA | 1659.9 | Plasma | N/A
Ab-E23311 | 0.014 |  |  | 2.84 |  | Demeditec | K4300 | TSH | ELISA | 1645.7 | Plasma | N/A
Ab-E23162 | 0.328 |  |  | 4.63 |  | Demeditec | K4323 | TSH | ELISA | 1629.8 | Plasma | N/A
Ab-E22463 | 0.253 |  |  | 0.52 | Normal range | Demeditec | k3709 | TSH | ELISA | 1549.1 | Plasma | N/A
Ab-E22870 | 0.196 |  |  | -2.28 | low | DRG | K3991 | TSH | ELISA | 1469.3 | Plasma | N/A
Ab-E23161 | 0.077 |  |  | 1.14 |  | Demeditec | K4323 | TSH | ELISA | 1343.4 | Plasma | #REF!
Ab-E23117 | 0.019 |  |  | 0.28 |  | Demeditec | K4323 | TSH | ELISA | 1043 | Plasma | N/A
Ab-E23023 | 0.24 |  |  | 1.24 | Normal range | DRG | K3991 | TSH | ELISA | 1040.3 | Plasma | N/A
Ab-E22887 | 0.203 |  |  | -1.72 | low | DRG | K3991 | TSH | ELISA | 1013.6 | Plasma | N/A
Ab-E23116 | 0.033 |  |  | 0.49 |  | Demeditec | K4323 | TSH | ELISA | 1003 | Plasma | N/A
Ab-E22769 | 0.042 |  |  | 0.62 |  | Demeditec | K4323 | TSH | ELISA | 996.9 | Plasma | N/A
Ab-E22629 | 0.032 |  |  | 0.48 |  | Demeditec | K4323 | TSH | ELISA | 972.9 | Plasma | N/A
Ab-E21581 | 0.305 |  |  | 3.5 | Normal range | Demeditec | k3709 | TSH | ELISA | 964.3 | Plasma | N/A
Ab-E22630 | 0.07 |  |  | 1.04 |  | Demeditec | K4323 | TSH | ELISA | 947.3 | Plasma | N/A
Ab-E21768 | 0.255 |  |  | 0.64 | Normal range | Demeditec | k3709 | TSH | ELISA | 936.5 | Plasma | N/A
Ab-E23034 | 0.032 |  |  | 0.48 |  | Demeditec | K4323 | TSH | ELISA | 913.6 | Plasma | N/A
Ab-E23869 | 0.083 |  |  | 1.2921 | Normal range | Demeditec | K3475 | TSH | ELISA | 886.6 | Plasma | DBN-4404028
Ab-E22144 | 0.104 |  |  | 1.75 | Normal range | Demeditec | K43240 | TSH | ELISA | 873.4 | Plasma | N/A
Ab-E22172 | 0.042 |  |  | 0.58 | Normal range | Demeditec | K43240 | TSH | ELISA | 862.3 | Plasma | N/A
Ab-E22634 | 0.193 |  |  | 2.79 |  | Demeditec | K4323 | TSH | ELISA | 848.5 | Plasma | N/A
Ab-E23167 | 0.082 |  |  | 1.21 |  | Demeditec | K4323 | TSH | ELISA | 840.7 | Plasma | N/A
Ab-E22871 | 0.523 |  |  | 24.58 | Elevated | DRG | K3991 | TSH | ELISA | 809 | Plasma | N/A
Ab-E23113 | 0.657 |  |  | 8.8 |  | Demeditec | K4323 | TSH | ELISA | 808.5 | Plasma | N/A
Ab-E23866 | 0.046 |  |  | 0.56709 | Normal range | Demeditec | K3475 | TSH | ELISA | 688.5 | Plasma | DBN-4404025
Ab-E21492 | 0.088 |  |  | 1.45 | Normal range | Demeditec | K43240 | TSH | ELISA | 607 | Plasma | DBN-4404580
Ab-E22912 | 0.212 |  |  | -1 | low | DRG | K3991 | TSH | ELISA | 534.4 | Plasma | N/A
Ab-E22863 | 0.113 |  |  | 1.66 |  | Demeditec | K4323 | TSH | ELISA | 505.3 | Plasma | N/A
Ab-E22646 | 0.077 |  |  | 1.14 |  | Demeditec | K4323 | TSH | ELISA | 475.8 | Plasma | N/A
Ab-E22647 | 0.071 |  |  | 1.05 |  | Demeditec | K4323 | TSH | ELISA | 444.8 | Plasma | N/A
Ab-E23164 | 0.062 |  |  | 0.92 |  | Demeditec | K4323 | TSH | ELISA | 426.7 | Plasma | N/A
Ab-E22907 | 0.196 |  |  | -2.28 | low | DRG | K3991 | TSH | ELISA | 423 | Plasma | N/A
Ab-E20171 | 0.28 |  |  | 2.07 | Normal range | Demeditec | k3709 | TSH | ELISA | 390.9 | Plasma | DBN-4403547
Ab-E21214 | 0.298 |  |  | 3.1 | Normal range | Demeditec | k3709 | TSH | ELISA | 384.2 | Plasma | DBN-4403778
Ab-E22857 | 0.033 |  |  | 0.49 |  | Demeditec | K4323 | TSH | ELISA | 373.1 | Plasma | N/A
Ab-E21216 | 0.315 |  |  | 4.07 | Elevated | Demeditec | k3709 | TSH | ELISA | 370.2 | Plasma | DBN-4403774
Ab-E18976 | 0.16 |  |  | 2.55 | Negative | Demeditec | K3040 | TSH | ELISA | 370 | Plasma | DBN-4403556
Ab-E18068 | 0 |  |  | 0.04 | Negative | Demeditec | K3040 | TSH | ELISA | 351.3 | Plasma | DBN-4403369
Ab-E21218 | 0.288 |  |  | 2.52 | Normal range | Demeditec | k3709 | TSH | ELISA | 345 | Plasma | DBN-4403775
Ab-E22899 | 0.237 |  |  | 1 | Normal range | DRG | K3991 | TSH | ELISA | 335.9 | Plasma | N/A
Ab-E21758 | 0.256 |  |  | 0.69 | Normal range | Demeditec | k3709 | TSH | ELISA | 327.4 | Plasma | N/A
Ab-E18989 | 0.245 |  |  | 0.06 | Low | Demeditec | k3709 | TSH | ELISA | 311.1 | Plasma | DBN-4403568
Ab-E19587 | 0.286 |  |  | 2.41 | Normal range | Demeditec | k3709 | TSH | ELISA | 304.8 | Plasma | N/A
Ab-E21219 | 0.26 |  |  | 0.92 | Normal range | Demeditec | k3709 | TSH | ELISA | 273 | Plasma | DBN-4403776
Ab-E19598 | 0.251 |  |  | 0.41 | Normal range | Demeditec | k3709 | TSH | ELISA | 239.1 | Plasma | N/A
Ab-E19589 | 0.151 |  |  | 2.61 | Normal range | Demeditec | K43240 | TSH | ELISA | 238.9 | Plasma | N/A
Ab-E19589 | 0.05 |  |  | 0.98 | Negative | Demeditec | K3040 | TSH | ELISA | 238.9 | Plasma | N/A
Ab-E23564 | 0.12 |  |  | 2.04 | Normal range | Demeditec | K43240 | TSH | ELISA | 237.4 | Plasma | DBN-4404080
Ab-E19592 | 0.252 |  |  | 0.46 | Normal range | Demeditec | k3709 | TSH | ELISA | 232.7 | Plasma | N/A
Ab-E21568 | 0.282 |  |  | 2.18 | Normal range | Demeditec | k3709 | TSH | ELISA | 226.5 | Plasma | N/A
Ab-E23525 | 0.083 |  |  | 1.36 | Normal range | Demeditec | K43240 | TSH | ELISA | 226.1 | Plasma | DBN-4404047
Ab-E23533 | 0.116 |  |  | 1.97 | Normal range | Demeditec | K43240 | TSH | ELISA | 208.3 | Plasma | DBN-4404053
Ab-E23570 | 0.141 |  |  | 2.39 | Normal range | Demeditec | K3475 | TSH | ELISA | 207.2 | Plasma | DBN-4404085
Ab-E23562 | 0.139 |  |  | 2.36 | Normal range | Demeditec | K3475 | TSH | ELISA | 202 | Plasma | DBN-4404078
Ab-E23562 | 0.104 |  |  | 1.75 | Normal range | Demeditec | K43240 | TSH | ELISA | 202 | Plasma | DBN-4404078
Ab-E23547 | 0.1 |  |  | 1.67 | Normal range | Demeditec | K43240 | TSH | ELISA | 199 | Plasma | DBN-4404064
Ab-E23547 | 0.094 |  |  | 1.5 | Normal range | Demeditec | K3475 | TSH | ELISA | 199 | Plasma | DBN-4404064
Ab-E23715 | 0.025 |  |  | 6.08 |  | Demeditec | K4300 | TSH | ELISA | 198 | Serum | N/A
Ab-E23506 | 0.107 |  |  | 1.75 | Normal range | Demeditec | K3475 | TSH | ELISA | 195 | Plasma | N/A
Ab-E19584 | 0.83 |  |  | 9.35 | Positive | Demeditec | K3040 | TSH | ELISA | 194.1 | Plasma | N/A
Ab-E19595 | 0.074 |  |  | 1.19 | Normal range | Demeditec | K43240 | TSH | ELISA | 192.4 | Plasma | N/A
Ab-E22984 | 0.217 |  |  | -0.6 | low | DRG | K3991 | TSH | ELISA | 190.4 | Serum | N/A
Ab-E23717 | 0.01 |  |  | 1.63 |  | Demeditec | K4300 | TSH | ELISA | 188 | Serum | N/A
Ab-E23546 | 0.129 |  |  | 2.21 | Normal range | Demeditec | K43240 | TSH | ELISA | 187.1 | Plasma | DBN-4404063
Ab-E23546 | 0.113 |  |  | 1.87 | Normal range | Demeditec | K3475 | TSH | ELISA | 187.1 | Plasma | DBN-4404063
Ab-E22903 | 0.215 |  |  | -0.76 | low | DRG | K3991 | TSH | ELISA | 186.2 | Plasma | N/A
Ab-E17994 | 0.279 |  |  | 2.01 | Normal range | Demeditec | k3709 | TSH | ELISA | 185.1 | Plasma | DBN-4402296
Ab-E23561 | 0.109 |  |  | 1.79 | Normal range | Demeditec | K3475 | TSH | ELISA | 183.7 | Plasma | DBN-4404077
Ab-E23561 | 0.087 |  |  | 1.43 | Normal range | Demeditec | K43240 | TSH | ELISA | 183.7 | Plasma | DBN-4404077
Ab-E17981 | 0.261 |  |  | 0.98 | Normal range | Demeditec | k3709 | TSH | ELISA | 183.3 | Plasma | DBN-4403337
Ab-E23706 | 0.017 |  |  | 3.74 |  | Demeditec | K4300 | TSH | ELISA | 180.3 | Serum | N/A
Ab-E23008 | 0.253 |  |  | 2.28 | Normal range | DRG | K3991 | TSH | ELISA | 178.9 | Serum | N/A
Ab-E23336 | 0.011 |  |  | 1.94 |  | Demeditec | K4300 | TSH | ELISA | 178.9 | Plasma | N/A
Ab-E23490 | 0.101 |  |  | 1.64 | Normal range | Demeditec | K3475 | TSH | ELISA | 178.5 | Plasma | N/A
Ab-E23569 | 0.256 |  |  | 4.46 | Elevated | Demeditec | K3475 | TSH | ELISA | 173.1 | Plasma | DBN-4404084
Ab-E22102 | 0.06 |  |  | 0.92 | Normal range | Demeditec | K43240 | TSH | ELISA | 171.3 | Plasma | N/A
Ab-E23500 | 0.198 |  |  | 3.44 | Normal range | Demeditec | K3475 | TSH | ELISA | 168.3 | Plasma | N/A
Ab-E23536 | 0.09 |  |  | 1.49 | Normal range | Demeditec | K43240 | TSH | ELISA | 166.7 | Plasma | DBN-4404056
Ab-E23538 | 0.1 |  |  | 1.67 | Normal range | Demeditec | K43240 | TSH | ELISA | 165.3 | Plasma | DBN-4404058
Ab-E23477 | 0.087 |  |  | 1.37 | Normal range | Demeditec | K3475 | TSH | ELISA | 162.9 | Plasma | N/A
Ab-E23497 | 0.108 |  |  | 1.77 | Normal range | Demeditec | K3475 | TSH | ELISA | 159 | Plasma | N/A
Ab-E23542 | 0.064 |  |  | 1 | Normal range | Demeditec | K43240 | TSH | ELISA | 157.7 | Plasma | DBN-4404061
Ab-E23699 | 0.014 |  |  | 2.84 |  | Demeditec | K4300 | TSH | ELISA | 157.1 | Serum | N/A
Ab-E23486 | 0.112 |  |  | 1.85 | Normal range | Demeditec | K3475 | TSH | ELISA | 155.9 | Plasma | N/A
Ab-E23558 | 0.231 |  |  | 4.03 | Normal range | Demeditec | K3475 | TSH | ELISA | 154.7 | Plasma | DBN-4404074
Ab-E23543 | 0.123 |  |  | 2.1 | Normal range | Demeditec | K43240 | TSH | ELISA | 152 | Plasma | DBN-4404062
Ab-E19635 | 0.261 |  |  | 0.98 | Normal range | Demeditec | k3709 | TSH | ELISA | 151 | Plasma | DBN-4403661
Ab-E23555 | 0.092 |  |  | 1.52 | Normal range | Demeditec | K43240 | TSH | ELISA | 149.5 | Plasma | DBN-4404071
Ab-E23499 | 0.082 |  |  | 1.27 | Normal range | Demeditec | K3475 | TSH | ELISA | 147.7 | Plasma | N/A
Ab-E23016 | 0.23 |  |  | 0.44 | Normal range | DRG | K3991 | TSH | ELISA | 147.3 | Serum | N/A
Ab-E23495 | 0.141 |  |  | 2.39 | Normal range | Demeditec | K3475 | TSH | ELISA | 141.7 | Plasma | N/A
Ab-E23479 | 0.158 |  |  | 2.71 | Normal range | Demeditec | K3475 | TSH | ELISA | 133.2 | Plasma | N/A
Ab-E23307 | 0.013 |  |  | 2.54 |  | Demeditec | K4300 | TSH | ELISA | 132.9 | Plasma | N/A
Ab-E23552 | 0.188 |  |  | 3.26 | Normal range | Demeditec | K3475 | TSH | ELISA | 132.1 | Plasma | DBN-4404068
Ab-E20841 | 0.272 |  |  | 1.61 | Normal range | Demeditec | k3709 | TSH | ELISA | 128.3 | Plasma | N/A
Ab-E23541 | 0.098 |  |  | 1.64 | Normal range | Demeditec | K43240 | TSH | ELISA | 127.7 | Plasma | DBN-4404060
Ab-E21160 | 0.284 |  |  | 2.29 | Normal range | Demeditec | k3709 | TSH | ELISA | 122.7 | Plasma | N/A
Ab-E23496 | 0.064 |  |  | 0.92 | Normal range | Demeditec | K3475 | TSH | ELISA | 122.3 | Plasma | N/A
Ab-E23552 | 0.148 |  |  | 2.55 | Normal range | Demeditec | K43240 | TSH | ELISA | 110.6 | Plasma | DBN-4404068
Ab-E23004 | 0.218 |  |  | -0.52 | low | DRG | K3991 | TSH | ELISA | 107.5 | Serum | N/A
Ab-E21088 | 0.205 |  |  | 3.57 | Normal range | Demeditec | K43240 | TSH | ELISA | 107.2 | Plasma | N/A
Ab-E23693 | 0.013 |  |  | 2.54 |  | Demeditec | K4300 | TSH | ELISA | 107.2 | Serum | N/A
Ab-E23502 | 0.21 |  |  | 3.65 | Normal range | Demeditec | K3475 | TSH | ELISA | 106.5 | Plasma | N/A
Ab-E23494 | 0.184 |  |  | 3.18 | Normal range | Demeditec | K3475 | TSH | ELISA | 103.5 | Plasma | N/A
Ab-E21139 | 0.105 |  |  | 1.77 | Normal range | Demeditec | K43240 | TSH | ELISA | 98.1 | Plasma | N/A
Ab-E20842 | 0.279 |  |  | 2.01 | Normal range | Demeditec | k3709 | TSH | ELISA | 94.7 | Plasma | N/A
Ab-E19579 | 0.03 |  |  | 0.67 | Negative | Demeditec | K3040 | TSH | ELISA | 91.5 | Plasma | N/A
Ab-E23526 | 0.098 |  |  | 1.64 | Normal range | Demeditec | K43240 | TSH | ELISA | 89.9 | Plasma | DBN-4404048
Ab-E21153 | 0.073 |  |  | 1.17 | Normal range | Demeditec | K43240 | TSH | ELISA | 88.8 | Plasma | N/A
Ab-E22982 | 0.334 |  |  | 8.85 | Elevated | DRG | K3991 | TSH | ELISA | 87.4 | Serum | N/A
Ab-E21225 | 0.067 |  |  | 1.05 | Normal range | Demeditec | K43240 | TSH | ELISA | 87.2 | Plasma | DBN-4403780
Ab-E19627 | 0.727 |  |  | 28.17 | Elevated | Demeditec | k3709 | TSH | ELISA | 87.1 | Plasma | DBN-4402839
Ab-E20851 | 0.268 |  |  | 1.38 | Normal range | Demeditec | k3709 | TSH | ELISA | 86.4 | Plasma | N/A
Ab-E22048 | 0.062 |  |  | 0.96 | Normal range | Demeditec | K43240 | TSH | ELISA | 85.6 | Plasma | N/A
Ab-E23485 | 0.444 |  |  | 7.59 | Elevated | Demeditec | K3475 | TSH | ELISA | 85.3 | Plasma | N/A
Ab-E23528 | 0.084 |  |  | 1.37 | Normal range | Demeditec | K43240 | TSH | ELISA | 85 | Plasma | DBN-4404050
Ab-E15954 | 0.274 |  |  | 1.72 | Normal range | Demeditec | k3709 | TSH | ELISA | 82.1 | Plasma | N/A
Ab-E19582 | 0.55 |  |  | 6.89 | Positive | Demeditec | K3040 | TSH | ELISA | 81.3 | Plasma | N/A
Ab-E20288 | 0.117 |  |  | 1.99 | Normal range | Demeditec | K43240 | TSH | ELISA | 77.9 | Serum | N/A
Ab-E21082 | 0.127 |  |  | 2.17 | Normal range | Demeditec | K43240 | TSH | ELISA | 77.7 | Plasma | N/A
Ab-E19593 | 0.077 |  |  | 1.24 | Normal range | Demeditec | K43240 | TSH | ELISA | 76.8 | Plasma | N/A
Ab-E20807 | 0.165 |  |  | 2.86 | Normal range | Demeditec | K43240 | TSH | ELISA | 74.2 | Plasma | DBN-4403743
Ab-E23503 | 0.153 |  |  | 2.62 | Normal range | Demeditec | K3475 | TSH | ELISA | 73.8 | Plasma | N/A
Ab-E19631 | 0.094 |  |  | 1.56 | Normal range | Demeditec | K43240 | TSH | ELISA | 70.8 | Plasma | DBN-4403657
Ab-E21091 | 0.066 |  |  | 1.04 | Normal range | Demeditec | K43240 | TSH | ELISA | 70.3 | Plasma | N/A
Ab-E23556 | 0.184 |  |  | 3.2 | Normal range | Demeditec | K43240 | TSH | ELISA | 68.4 | Plasma | DBN-4404072
Ab-E23694 | 0.015 |  |  | 3.14 |  | Demeditec | K4300 | TSH | ELISA | 68.2 | Serum | N/A
Ab-E19607 | 0.278 |  |  | 1.95 | Normal range | Demeditec | k3709 | TSH | ELISA | 67.2 | Plasma | DBN-4403642
Ab-E12599 | 0.064 |  |  | 1 | Normal range | Demeditec | K43240 | TSH | ELISA | 66.8 | Plasma | N/A
Ab-E23491 | 0.139 |  |  | 2.36 | Normal range | Demeditec | K3475 | TSH | ELISA | 62.7 | Plasma | N/A
Ab-E23032 | 0.307 |  |  | 4.35 |  | Demeditec | K4323 | TSH | ELISA | 61.3 | Plasma | N/A
Ab-E17937 | 0.278 |  |  | 1.95 | Normal range | Demeditec | k3709 | TSH | ELISA | 60.7 | Plasma | DBN-4000518
Ab-E17798 | 0.072 |  |  | 1.15 | Normal range | Demeditec | K43240 | TSH | ELISA | 60.7 | Plasma | DBN-4402955
Ab-E23006 | 0.281 |  |  | 4.54 | Elevated | DRG | K3991 | TSH | ELISA | 59.1 | Serum | N/A
Ab-E19648 | 0.069 |  |  | 1.09 | Normal range | Demeditec | K43240 | TSH | ELISA | 58.7 | Plasma | DBN-4403670
Ab-E12532 | 0.274 |  |  | 1.72 | Normal range | Demeditec | k3709 | TSH | ELISA | 55.4 | Plasma | N/A
Ab-E18263 | 0.265 |  |  | 1.21 | Normal range | Demeditec | k3709 | TSH | ELISA | 46.1 | Plasma | N/A
Ab-E18263 | 0.061 |  |  | 0.94 | Normal range | Demeditec | K43240 | TSH | ELISA | 46.1 | Plasma | N/A
Ab-E22845 | 0.02 |  |  | 0.3 |  | Demeditec | K4323 | TSH | ELISA | 44 | Plasma | N/A
Ab-E23478 | 0.205 |  |  | 3.56 | Normal range | Demeditec | K3475 | TSH | ELISA | 43.5 | Plasma | N/A
Ab-E21926 | 0.067 |  |  | 1.05 | Normal range | Demeditec | K43240 | TSH | ELISA | 40 | Serum | N/A
Ab-E19215 | 0.11 |  |  | 1.86 | Normal range | Demeditec | K43240 | TSH | ELISA | 36 | Plasma | N/A
Ab-E19217 | 0.253 |  |  | 0.52 | Normal range | Demeditec | k3709 | TSH | ELISA | 32.4 | Plasma | N/A
Ab-E19581 | 0.07 |  |  | 1.28 | Negative | Demeditec | K3040 | TSH | ELISA | 31.6 | Plasma | N/A
Ab-E22021 | 0.088 |  |  | 1.45 | Normal range | Demeditec | K43240 | TSH | ELISA | 29.9 | Plasma | DBN-4404524
Ab-E22735 | 0.163 |  |  | 2.82 | Normal range | Demeditec | K43240 | TSH | ELISA | 29.4 | Serum | N/A
Ab-E22992 | 0.216 |  |  | -0.68 | low | DRG | K3991 | TSH | ELISA | 27.5 | Serum | N/A
Ab-E22975 | 0.237 |  |  | 1 | Normal range | DRG | K3991 | TSH | ELISA | 25.8 | Serum | N/A
Ab-E22179 | 0.102 |  |  | 1.71 | Normal range | Demeditec | K43240 | TSH | ELISA | 24.6 | Plasma | N/A
Ab-E23482 | 0.154 |  |  | 2.63 | Normal range | Demeditec | K3475 | TSH | ELISA | 20.3 | Plasma | N/A
Ab-E14742 | 0.274 |  |  | 1.72 | Normal range | Demeditec | k3709 | TSH | ELISA | 19.5 | Plasma | DBN-4401842
Ab-E20836 | 0.278 |  |  | 1.95 | Normal range | Demeditec | k3709 | TSH | ELISA | 18.7 | Plasma | N/A
Ab-E20853 | 0.292 |  |  | 2.75 | Normal range | Demeditec | k3709 | TSH | ELISA | 17 | Plasma | N/A
Ab-E20826 | 0.298 |  |  | 3.1 | Normal range | Demeditec | k3709 | TSH | ELISA | 13.3 | Plasma | DBN-4403765
Ab-E17584 | 0.14 |  |  | 2.26 | Negative | Demeditec | K3040 | TSH | ELISA | 9.3 | Serum | N/A
Ab-E20596 | 0.263 |  |  | 1.09 | Normal range | Demeditec | k3709 | TSH | ELISA | 9 | Plasma | DBN-4403726
Ab-E18979 | 0.04 |  |  | 0.76 | Negative | Demeditec | K3040 | TSH | ELISA | 9 | Plasma | DBN-4403558
Ab-E22891 | 0.172 |  |  | -4.19 | low | DRG | K3991 | TSH | ELISA | 9 | Plasma | N/A
Ab-E21076 | 0.156 |  |  | 2.7 | Normal range | Demeditec | K43240 | TSH | ELISA | 8.4 | Plasma | N/A
Ab-E12575 | 0.264 |  |  | 1.15 | Normal range | Demeditec | k3709 | TSH | ELISA | 8.4 | Plasma | N/A
Ab-E23454 | 0.08 |  |  | 1.18 |  | Demeditec | K4323 | TSH | ELISA | 8 | Plasma | N/A
Ab-E13728 | 0.266 |  |  | 1.26 | Normal range | Demeditec | k3709 | TSH | ELISA | 7.1 | Plasma | N/A
Ab-E23314 | 0.013 |  |  | 2.54 |  | Demeditec | K4300 | TSH | ELISA | 7 | Plasma | N/A
Ab-E23308 | 0.012 |  |  | 2.24 |  | Demeditec | K4300 | TSH | ELISA | 6 | Plasma | N/A
Ab-E20847 | 0.127 |  |  | 2.1708 | Normal range | Demeditec | K43240 | TSH | ELISA | 6 | Plasma | N/A
Ab-E13994 | -0.01 |  |  | -0.01 | Negative | Demeditec | K3040 | TSH | ELISA | 6 | Plasma | DBN-4000726
Ab-E14747 | 0.277 |  |  | 1.89 | Normal range | Demeditec | k3709 | TSH | ELISA | 5 | Plasma | DBN-4401788
Ab-E21375 | 0.109 |  |  | 1.84 | Normal range | Demeditec | K43240 | TSH | ELISA | 5 | Plasma | DBN-4403740
Ab-E23652 | 0.049 |  |  | 0.71 | Normal range | Demeditec | K43240 | TSH | ELISA | 5 | Plasma | N/A
Ab-E20225 | 0.253 |  |  | 0.52 | Normal range | Demeditec | k3709 | TSH | ELISA | 5 | Serum | N/A
Ab-E20808 | 0.131 |  |  | 2.24 | Normal range | Demeditec | K43240 | TSH | ELISA | 4.6 | Plasma | DBN-4403744
Ab-E23560 | 0.092 |  |  | 1.52 | Normal range | Demeditec | K43240 | TSH | ELISA | 4 | Plasma | DBN-4404076
Ab-E16709 | 0.274 |  |  | 1.72 | Normal range | Demeditec | k3709 | TSH | ELISA | 3 | Serum | #N/A
Ab-E23493 | 0.105 |  |  | 1.71 | Normal range | Demeditec | K3475 | TSH | ELISA | 3 | Plasma | N/A
Ab-E17905 | 0.271 |  |  | 1.55 | Normal range | Demeditec | k3709 | TSH | ELISA | 3 | Serum | DBN-4403284
Ab-E21239 | 0.091 |  |  | 1.51 | Normal range | Demeditec | K43240 | TSH | ELISA | 2.8 | Serum | N/A
Ab-E18985 | 0.04 |  |  | 0.76 | Negative | Demeditec | K3040 | TSH | ELISA | 2.7 | Plasma | DBN-4403564
Ab-E20810 | 0.137 |  |  | 2.3537 | Normal range | Demeditec | K43240 | TSH | ELISA | 2 | Plasma | DBN-4403746
Ab-E19613 | 0.284 |  |  | 2.29 | Normal range | Demeditec | k3709 | TSH | ELISA | 2 | Plasma | DBN-4403645
Ab-E20976 | 0.274 |  |  | 1.72 | Normal range | Demeditec | k3709 | TSH | ELISA | 2 | Serum | N/A
Ab-E17487 | 0.05 |  |  | 0.87 | Negative | Demeditec | K3040 | TSH | ELISA | 2 | Serum | DBN-4403180
Ab-E18100 | 0.255 |  |  | 0.64 | Normal range | Demeditec | k3709 | TSH | ELISA | 2 | Plasma | DBN-4403372
Ab-E21453 | 0.298 |  |  | 3.1 | Normal range | Demeditec | k3709 | TSH | ELISA | 1 | Plasma | N/A
Ab-E23816-A | 0.114 |  |  | 1.89 | Normal range | Demeditec | K3475 | TSH | ELISA | 1 | Serum | DBN-4404099
Ab-E19201 | 0.276 |  |  | 1.84 | Normal range | Demeditec | k3709 | TSH | ELISA | 1 | Plasma | N/A
Ab-E23815-A | 0.088 |  |  | 1.39 | Normal range | Demeditec | K3475 | TSH | ELISA | 1 | Serum | DBN-4404098
Ab-E20764 | 0.268 |  |  | 1.38 | Normal range | Demeditec | k3709 | TSH | ELISA | 1 | Serum | DBN-4403470
Ab-E20605 | 0.265 |  |  | 1.21 | Normal range | Demeditec | k3709 | TSH | ELISA | 1 | Plasma | DBN-4403543
Ab-E23802-A | 0.063 |  |  | 0.9 | Normal range | Demeditec | K3475 | TSH | ELISA | 1 | Serum | DBN-4404088
Ab-E20869 | 0.259 |  |  | 0.86 | Normal range | Demeditec | k3709 | TSH | ELISA | 1 | Plasma | DBN-4402707
Ab-E17858 | 0.04 |  |  | 0.69 | Negative | Demeditec | K3040 | TSH | ELISA | 1 | Serum | DBN-4403247
Ab-E23038 | 0.04 |  |  | 0.59 |  | Demeditec | K4323 | TSH | ELISA | 1 | Plasma | N/A
Ab-E22971 | 0.227 |  |  | 0.2 | low | DRG | K3991 | TSH | ELISA | 1 | Serum | N/A
Ab-E17592 | 0 |  |  | 0.06 | Negative | Demeditec | K3040 | TSH | ELISA | 1 | Serum | N/A
Ab-E22969 | 0.222 |  |  | -0.20373 | low | DRG | K3991 | TSH | ELISA | 1 | Serum | N/A
Ab-E23001 | 0.22 |  |  | -0.36371 | low | DRG | K3991 | TSH | ELISA | 1 | Serum | N/A
Ab-E23710 | 0.015 |  |  | 3.14 |  | Demeditec | K4300 | TSH | ELISA | 0.7 | Serum | N/A

## Autoimmune
Lot Number | Manufacturer | Test Description / Method | Matrix | AbBaltis Stock(mL) | Donor ID | Jo-1 | PL-7 | PL-12 | EJ | OJ | KS | YARS | ZoA | ZoB | SAE-1 | SAE-2 | SRP54 | Mi-2 | TIF1γ | MDA5 | NXP2 | PMScl 100 | PMScl 75 | M2 | DFS70 | Scl70 | CENP A | CENP B | POLR3A | NOR90 | Th/To | PDGFR-β | Fibrillarin | Ro52 | Ro60 | La | PCNA | P0 | SmB | SmD | Nucleolin | Nucleosome | Histone | RNP A | RNP 68 | RNP C | Ku | dsDNA | Interpretation criteria
Ab-E23900 | Test Line | Microblot-Array ANA | Plasma | 2749.2 | N/A | 0 | 0 | 0 | 0 | 0.02 | 0 | 0.01 | 0 | 0 | 0 | 0.03 | 0 | 0.03 | 0.01 | 0.01 | 0.06 | 0 | 0 | 5.9 | 0.07 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.01 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0.14 | 0 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E23040 | Test Line | Microblot-Array ANA | Plasma | 2516.1 | N/A | 0 | 0 | 0.01 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0 | 0.01 | 0.01 | 0 | 0 | 0 | 2.65 | 0.01 | 0 | 0.01 | 0 | 0.01 | 0.01 | 0 | 0.01 | 6.17 | 0.01 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0.01 | 0.06 | 0.02 | 0.01 | 0 | 0.09 | 0.01 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E23035 | Test Line | Microblot-Array ANA | Plasma | 1615.5 | N/A | 9.24 | 3.81 | 3.59 | 3.61 | 3.55 | 9.24 | 3.69 | 9.24 | 3.55 | 3.53 | 3.64 | 3.7 | 9.24 | 3.63 | 3.59 | 3.66 | 9.24 | 3.57 | 9.24 | 3.28 | 3.57 | 3.64 | 3.55 | 9.24 | 9.24 | 9.24 | 9.24 | 9.24 | 3.22 | 3.51 | 3.67 | 3.66 | 3.7 | 9.24 | 3.58 | 9.24 | 3.54 | 3.54 | 9.24 | 3.6 | 9.24 | 3.47 | 9.24 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E23945 | Test Line | Microblot-Array ANA | Plasma | 668.2 | DBN-4404114 | 0 | 0 | 0 | 0 | 0.14 | 0 | 0.01 | 0.01 | 0 | 0 | 0.01 | 0 | 0 | 0.01 | 0.04 | 0.04 | 0 | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0.07 | 0 | 0.01 | 0.01 | 0.03 | 0.01 | 0.01 | 0 | 0 | 0.01 | 0 | 0.03 | 0.12 | 0.02 | 0.02 | 0 | 0.17 | 2.42 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E20171 | Test Line | Microblot-Array ANA | Plasma | 199 | DBN-4403547 | 0 | 0.08 | 0.04 | 0.17 | 0.51 | 0.03 | 0.02 | 0.03 | 0.06 | 0 | 0.05 | 0.04 | 0.06 | 0.01 | 0.12 | 0.13 | 0.3 | 0.07 | 0.1 | 0.2 | 0.05 | 0.08 | 0.02 | 0.02 | 0.01 | 0.04 | 0.01 | 0.03 | 0.33 | 0.16 | 0.1 | 0.01 | 0.08 | 0.13 | 6.65 | 0.04 | 0.13 | 0.1 | 0.51 | 0.12 | 0.04 | 0.06 | 0.1 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E23482 | Test Line | Microblot-Array ANA | Plasma | 120.3 | N/A | 0 | 0.03 | 0.01 | 0 | 0.16 | 0 | 0.03 | 0.04 | 0 | 0 | 0.02 | 0 | 0 | 0 | 0.02 | 0.07 | 0.01 | 0.01 | 0 | 5.63 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28 | 0.02 | 0 | 0.04 | 0 | 0.1 | 0.08 | 0 | 0 | 0.04 | 0.31 | 0 | 0 | 0.32 | 0.04 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E19584 | Test Line | Microblot-Array ANA | Plasma | 99 | N/A | 9.37 | 3.71 | 3.55 | 9.37 | 3.33 | 3.71 | 3.53 | 3.6 | 3.58 | 3.57 | 3.47 | 9.37 | 3.53 | 3.59 | 3.47 | 3.38 | 3.52 | 3.59 | 3.51 | 3.43 | 9.37 | 3.78 | 3.52 | 3.68 | 3.7 | 3.5 | 3.67 | 3.85 | 3.48 | 3.45 | 3.47 | 3.49 | 3.58 | 3.45 | 3.5 | 3.53 | 3.54 | 3.44 | 3.45 | 3.38 | 3.52 | 3.46 | 9.37 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E23709 | Test Line | Microblot-Array ANA | Serum | 9 | N/A | 0.02 | 0.02 | 0.09 | 0.04 | 0.37 | 0 | 0.05 | 0.01 | 0.02 | 0.03 | 0.92 | 0.01 | 0.07 | 0.19 | 0.11 | 0.5 | 0.08 | 0.07 | 0.01 | 3.77 | 0.06 | 0.16 | 0.06 | 0.02 | 0.27 | 0.29 | 0.03 | 0.03 | 0.17 | 0.29 | 0.04 | 0.11 | 0.01 | 0.53 | 0.07 | 0.02 | 0.13 | 0.25 | 0.17 | 0.29 | 0.02 | 0.31 | 0 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E20873 | Test Line | Microblot-Array ANA | Plasma | 7 | DBN-4402012 | 0.02 | 0.08 | 0.03 | 0.03 | 0.22 | 0.01 | 0.01 | 0 | 0.01 | 0.02 | 0.02 | 0.06 | 0.91 | 0.01 | 0.08 | 0.05 | 0.29 | 0.02 | 0.06 | 0.05 | 6.17 | 0.03 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.24 | 0.43 | 0.13 | 0.03 | 0.04 | 0.02 | 0.11 | 0.08 | 0.04 | 0.13 | 0.11 | 0.06 | 0.09 | 0.03 | 0.07 | 0.02 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E22633 | Test Line | Microblot-Array ANA | Plasma | 4 | N/A | 0.02 | 0.03 | 0.02 | 0.04 | 0.15 | 0.13 | 0.03 | 0.03 | 0.01 | 0.01 | 0.03 | 0.03 | 0.03 | 0.03 | 0.08 | 0.13 | 0.14 | 0.32 | 0.03 | 0.1 | 0.01 | 0.04 | 3.54 | 0.01 | 0.03 | 0.06 | 0 | 0 | 0.1 | 0.14 | 0.02 | 0.05 | 0 | 0.01 | 0.03 | 0.02 | 0.02 | 0.14 | 0.13 | 0.06 | 0 | 0.39 | 0 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E21841 | Test Line | Microblot-Array ANA | Serum | 2 | N/A | 0.03 | 0.08 | 0.08 | 0.1 | 0.24 | 0.07 | 0.03 | 0.01 | 0.01 | 0 | 0.04 | 0.09 | 2.25 | 0 | 0.22 | 0.08 | 0.08 | 0.03 | 0.09 | 0.05 | 0.1 | 0.05 | 0.03 | 0 | 0.1 | 0.04 | 0 | 0.01 | 0.23 | 0.12 | 0.03 | 0.04 | 0.02 | 0.07 | 0.09 | 0.16 | 0.2 | 0.04 | 0.12 | 0.08 | 0.01 | 0.06 | 0.07 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E17592 | Test Line | Microblot-Array ANA | Serum | 1 | N/A | 0.03 | 0.08 | 0.05 | 0.04 | 0.62 | 0 | 0.09 | 0.08 | 0.04 | 0.08 | 0.08 | 0.02 | 2.25 | 0.02 | 0.22 | 0.22 | 0.59 | 0.04 | 0.03 | 0.02 | 0.25 | 0.02 | 0.01 | 0.04 | 0.03 | 0.05 | 0 | 0.06 | 0.92 | 0.21 | 0.05 | 0.08 | 0.21 | 0.18 | 0.04 | 0.15 | 0.17 | 0.06 | 0.1 | 0.32 | 0.01 | 0.06 | 0.08 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Ab-E19021 | Test Line | Microblot-Array ANA | Plasma | 1 | DBN-4402715 | 0.03 | 0.11 | 0.11 | 0.05 | 0.12 | 0.02 | 0.05 | 0 | 0.02 | 0.01 | 0.01 | 0.05 | 0.02 | 0.02 | 0.12 | 0.1 | 0.23 | 0.03 | 0.03 | 0.02 | 2.48 | 0.01 | 0.04 | 0 | 0.02 | 0.02 | 0.02 | 0.04 | 0.38 | 0.15 | 0 | 0.05 | 0.03 | 0.08 | 0.05 | 0.19 | 0.12 | 0.13 | 0.12 | 0.15 | 0.02 | 0.06 | 0.08 | Lower than 1.85; negative, 1.85 to 2.10; borderline, higher than 2.10; positive
Lot no. | AbBaltis Stock (ml) | Matrix | Manufacturer | Test Description | Donor ID | Ro/SS-A 52 | La/SS-B | CENP-B | Scl-70 | dsDNA | Jo-1 | MPO | PR3 | AMA M2 | LC 1 | LKM 1 | PM/Scl 100 | SRP 54 | SP 100 | gp 210 | Ku | Sm | U1-snRNP | Units of measure | Reference Values
Ab-E21223 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4402626 | 0.07 | 0.05 | 0.06 | 0.09 | 0.05 | 545 | 0.04 | 0.03 | 0.08 | 0.13 | 0.02 | 0.04 | 0.05 | 0.06 | 0.03 | 0.08 | 0.05 | 0.11 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E18100 | 2 | Plasma | Polycheck | AI-STD-X | DBN-4403372 | 0.24 | 0.27 | 0.27 | 0.23 | 0.28 | 0.23 | 0.25 | 0.31 | 0.35 | 0.17 | 0.18 | 0.19 | 0.11 | 0.06 | 0.08 | 0.12 | 0.22 | 0.21 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E14648 | 2 | Plasma | Polycheck | AI-STD-X | DBN-4401734 | 0.22 | 0.22 | 0.22 | 0.25 | 0.27 | 0.2 | 0.2 | 0.23 | 0.22 | 0.23 | 0.26 | 0.24 | 0.36 | 0.22 | 0.24 | 0.26 | 0.23 | 0.26 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E12911 | 2 | Plasma | Polycheck | AI-STD-X | DBN-4401623 | 0.21 | 0.26 | 0.22 | 0.24 | 0.25 | 0.2 | 0.2 | 0.21 | 0.21 | 0.28 | 0.23 | 0.24 | 0.29 | 0.25 | 0.22 | 0.25 | 0.26 | 0.26 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E14653 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4401738 | 0.24 | 0.21 | 0.22 | 0.24 | 0.21 | 0.2 | 0.2 | 0.22 | 0.22 | 0.21 | 0.24 | 0.23 | 0.25 | 0.23 | 0.24 | 0.23 | 0.24 | 0.26 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E14651 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4401737 | 0.23 | 0.22 | 0.22 | 0.24 | 0.27 | 0.2 | 0.21 | 0.26 | 0.24 | 0.2 | 0.3 | 0.23 | 0.35 | 0.24 | 0.3 | 0.25 | 0.23 | 0.25 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E14649 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4401735 | 0.22 | 0.21 | 0.21 | 0.22 | 0.21 | 0.2 | 0.21 | 0.21 | 0.21 | 0.22 | 0.24 | 0.3 | 0.3 | 0.25 | 0.28 | 0.28 | 0.35 | 0.28 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E13712 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4000626 | 0.21 | 0.53 | 0.21 | 0.21 | 0.21 | 0.2 | 0.2 | 0.19 | 0.19 | 0.25 | 0.19 | 0.23 | 0.21 | 0.2 | 0.19 | 0.21 | 0.21 | 0.21 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E14647 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4401733 | 0.23 | 0.21 | 0.21 | 0.21 | 0.21 | 0.2 | 0.2 | 0.22 | 0.21 | 0.22 | 0.21 | 0.23 | 0.24 | 0.22 | 0.22 | 0.21 | 0.23 | 0.23 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E14655 | 2 | Plasma | Polycheck | AI-STD-X | DBN-4401739 | 0.21 | 0.21 | 0.21 | 0.21 | 0.23 | 0.19 | 0.2 | 0.23 | 0.22 | 0.24 | 0.26 | 0.27 | 0.31 | 0.25 | 0.33 | 0.32 | 0.29 | 0.24 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E12901 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4401620 | 0.19 | 0.24 | 0.2 | 0.22 | 0.18 | 0.16 | 0.19 | 0.15 | 0.15 | 0.19 | 0.17 | 0.21 | 0.22 | 0.23 | 0.21 | 0.32 | 0.22 | 0.22 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E13295 | 1 | Serum | Polycheck | AI-STD-X | N/A | 0.14 | 0.16 | 0.17 | 0.15 | 0.15 | 0.16 | 0.18 | 0.16 | 0.33 | 0.17 | 0.17 | 0.2 | 0.23 | 0.18 | 0.17 | 0.17 | 0.19 | 0.2 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E14669 | 2 | Plasma | Polycheck | AI-STD-X | N/A | 0.13 | 0.14 | 0.13 | 0.13 | 0.12 | 0.13 | 0.14 | 0.16 | 0.17 | 0.19 | 0.22 | 0.25 | 0.26 | 0.23 | 0.23 | 0.24 | 1.1 | 0.25 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E18182 | 2 | Plasma | Polycheck | AI-STD-X | DBN-4403030 | 0.1 | 0.11 | 0.11 | 0.11 | 0.14 | 0.13 | 0.12 | 0.13 | 0.14 | 0.15 | 0.11 | 0.17 | 0.31 | 0.12 | 0.15 | 0.16 | 0.13 | 0.2 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E20869 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4402707 | 0.04 | 0.05 | 0.04 | 0.07 | 0.48 | 0.13 | 0.01 | 0.03 | 0.3 | 0.14 | 0.05 | 0.1 | 0.14 | 0.05 | 0.03 | 0.07 | 0.14 | 0.16 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E13028 | 29.9 | Plasma | Polycheck | AI-STD-X | DBN-4401333 | 0.13 | 0.16 | 0.11 | 0.19 | 0.09 | 0.12 | 0.1 | 0.11 | 0.14 | 0.13 | 0.14 | 0.22 | 0.23 | 0.24 | 0.22 | 0.2 | 0.21 | 0.23 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E17526 | 4 | Plasma | Polycheck | AI-STD-X | DBN-4403193 | 0.12 | 0.11 | 0.13 | 0.11 | 0.11 | 0.11 | 0.12 | 0.12 | 0.13 | 0.14 | 0.13 | 0.16 | 0.16 | 0.19 | 0.19 | 0.2 | 0.19 | 0.22 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E17457 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4403176 | 0.17 | 0.22 | 0.15 | 0.12 | 0.12 | 0.11 | 0.12 | 0.12 | 0.15 | 0.18 | 0.19 | 0.22 | 0.19 | 0.18 | 0.18 | 1.4 | 0.24 | 0.24 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E15961 | 1 | Plasma | Polycheck | AI-STD-X | N/A | 0.08 | 0.14 | 0.11 | 0.09 | 0.09 | 0.11 | 0.11 | 0.12 | 0.13 | 0.15 | 0.14 | 0.18 | 0.2 | 0.17 | 0.17 | 0.18 | 0.19 | 0.21 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E18000 | 2 | Plasma | Polycheck | AI-STD-X | DBN-4403348 | 0.01 | 0.03 | 0.03 | 0.1 | 0.08 | 0.06 | 0.06 | 0.1 | 0.13 | 0.14 | 0.15 | 0.19 | 0.23 | 0.14 | 0.18 | 0.16 | 0.12 | 0.18 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E20604 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4403701 | 0.07 | 0.06 | 0.09 | 0.05 | 30 | 0.05 | 0.1 | 0.01 | 0.02 | 0.07 | 0.02 | 0.04 | 0.04 | 0.05 | 0.02 | 0.05 | 0.07 | 0.07 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E20068 | 6.7 | Plasma | Polycheck | AI-STD-X | DBN-4403702 | 0.4 | 0.18 | 0.04 | 0.03 | 0.07 | 0.04 | 0.02 | 0.06 | 0.06 | 0.1 | 0.04 | 0.08 | 0.09 | 0.02 | 0.08 | 0.02 | 0.66 | 0.1 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E19596 | 217.8 | Plasma | Polycheck | AI-STD-X | N/A | 0.11 | 0.14 | 0.06 | 0.05 | 0.06 | 0.03 | 0.03 | 0.03 | 0.04 | 0.09 | 0.03 | 0.05 | 0.05 | 0.05 | 0.05 | 0.09 | 0.12 | 0.17 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E17942 | 72.8 | Plasma | Polycheck | AI-STD-X | DBN-4403312 | 0.07 | 0.04 | 0.05 | 0.04 | 0.03 | 0.03 | 0.03 | 0.04 | 0.03 | 0.06 | 0.05 | 0.06 | 0.06 | 0.07 | 0.08 | 0.11 | 0.12 | 0.15 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E18019 | 60.7 | Plasma | Polycheck | AI-STD-X | DBN-4403359 | 0.08 | 0.04 | 0.04 | 0.04 | 0.04 | 0.03 | 0.03 | 0.07 | 0.05 | 0.04 | 0.04 | 0.06 | 0.06 | 0.06 | 0.05 | 0.07 | 0.06 | 0.11 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21173 | 1 | Serum | Polycheck | AI-STD-X | DBN-4403675 | 0.08 | 0.14 | 0.06 | 0.05 | 0.04 | 0.03 | 0.03 | 0.04 | 0.04 | 0.06 | 0.04 | 0.06 | 0.05 | 0.06 | 0.06 | 0.08 | 0.08 | 0.13 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E15586 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4402252 | 0.02 | 0.02 | 0.04 | 0.03 | 0.01 | 0.03 | 0.03 | 0.04 | 0.04 | 0.05 | 0.04 | 0.06 | 0.07 | 0.07 | 0.08 | 0.07 | 0.06 | 0.03 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22115 | 750.2 | Plasma | Polycheck | AI-STD-X | N/A | 0.11 | 0.04 | 0.05 | 0.02 | 0.02 | 0.02 | 0.01 | 0.01 | 0.02 | 0.04 | 0.02 | 0.07 | 0.05 | 0.06 | 0.04 | 0.07 | 0.07 | 0.12 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22351 | 293.3 | Plasma | Polycheck | AI-STD-X | N/A | 0.08 | 0.04 | 0.04 | 0.05 | 0.01 | 0.02 | 0.03 | 0.01 | 0.02 | 0.04 | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.05 | 0.05 | 0.07 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22201 | 264.2 | Plasma | Polycheck | AI-STD-X | N/A | 0.03 | 0.01 | 0.02 | 0.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.02 | 0.03 | 0.03 | 0.03 | 0.02 | 0.03 | 0.03 | 0.04 | 0.04 | 0.05 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21468 | 258.1 | Plasma | Polycheck | AI-STD-X | N/A | 0.06 | 0.03 | 0.04 | 0.02 | 0.02 | 0.02 | 0.02 | 0.01 | 0.03 | 0.04 | 0.02 | 0.04 | 0.03 | 0.04 | 0.02 | 0.04 | 0.03 | 0.06 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21575 | 244.8 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0 | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0 | 0.01 | 0.01 | 0 | 0.01 | 0.01 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E19642 | 87.1 | Plasma | Polycheck | AI-STD-X | DBN-4403668 | 0.06 | 0.11 | 0.04 | 0.02 | 0 | 0.02 | 0.03 | 0 | 0.02 | 0.18 | 0.03 | 0.05 | 0.07 | 0 | 0.08 | 0.03 | 0 | 0.03 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E18277 | 3.3 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0.08 | 0 | 0.56 | 0.03 | 0.02 | 0.01 | 0 | 0.04 | 0.06 | 0.15 | 0.39 | 0.26 | 0.31 | 0.23 | 0.23 | 0.31 | 0.2 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E20855 | 2 | Plasma | Polycheck | AI-STD-X | N/A | 0.08 | 0.03 | 0.09 | 0.01 | 0.03 | 0.02 | 0.02 | 0.03 | 0.05 | 0.29 | 0.05 | 0.07 | 0.08 | 0.08 | 0.07 | 0.09 | 0.07 | 0.1 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21958 | 3904.3 | Plasma | Polycheck | AI-STD-X | N/A | 0.04 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01 | 0.02 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.03 | 0.05 | 0.03 | 0.05 | 0.06 | 0.08 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22347 | 1805.4 | Plasma | Polycheck | AI-STD-X | N/A | 0.11 | 0.01 | 0.02 | 0.01 | 0.03 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 | 0.03 | 0.04 | 0.03 | 0.04 | 0.04 | 0.07 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21571 | 520 | Plasma | Polycheck | AI-STD-X | N/A | 0.01 | 0.02 | 0.09 | 0.02 | 0.01 | 0.01 | 0.02 | 0.02 | 0.03 | 0.01 | 0 | 0.02 | 0.03 | 0.05 | 0.02 | 0.02 | 0.02 | 0.02 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21620 | 458 | Plasma | Polycheck | AI-STD-X | N/A | 0.06 | 0.03 | 0.03 | 0.02 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.03 | 0.02 | 0.03 | 0.03 | 0.04 | 0.04 | 0.06 | 0.07 | 0.1 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21225 | 87.2 | Plasma | Polycheck | AI-STD-X | DBN-4403780 | 0.05 | 0.04 | 0.11 | 0.03 | 0.02 | 0.01 | 0 | 0.03 | 0.02 | 0.02 | 0.02 | 0.03 | 0.03 | 0.06 | 0.04 | 0.06 | 0.06 | 0.08 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E19590 | 5 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.01 | 0.03 | 0.03 | 0.01 | 0.01 | 0.01 | 0.11 | 0.05 | 0.02 | 0.03 | 0.04 | 0 | 0 | 0.11 | 0.01 | 0.03 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22121 | 2.9 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0.07 | 0.05 | 0 | 0.02 | 0.01 | 0.04 | 0.02 | 0.04 | 0.04 | 0.02 | 0.08 | 0.09 | 0.05 | 0.03 | 0.03 | 0.04 | 0.06 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E19363 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4403611 | 0.11 | 0.08 | 0.11 | 0.06 | 0.1 | 0.01 | 0.02 | 0.04 | 0.05 | 0.04 | 0 | 0.04 | 0.02 | 0.04 | 0.04 | 0.05 | 0.09 | 0.11 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21572 | 3485 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.01 | 0.01 | 0.01 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21580 | 2777.6 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21570 | 2550 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.03 | 0.06 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21508 | 2481.4 | Plasma | Polycheck | AI-STD-X | N/A | 0.41 | 0.15 | 0.13 | 0.02 | 0 | 0 | 0.01 | 0.01 | 0.05 | 0.07 | 0.03 | 0.1 | 0.07 | 0.05 | 0.02 | 0.07 | 0.04 | 0.07 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21508 | 2271.4 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.01 | 0.02 | 0.03 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21587 | 1739.9 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.04 | 0.02 | 0.02 | 0.02 | 0.02 | 0.04 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21574 | 1656.9 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.03 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21794 | 1430.3 | Plasma | Polycheck | AI-STD-X | N/A | 0.37 | 0.15 | 0.11 | 0.04 | 0.02 | 0 | 0.02 | 0.01 | 0.03 | 0.05 | 0.03 | 0.08 | 0.06 | 0.04 | 0.02 | 0.05 | 0.02 | 0.04 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21577 | 1271.3 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0.04 | 0.05 | 0.01 | 0.02 | 0.02 | 0.07 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21577 | 1261.3 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0.01 | 0 | 0.01 | 0.01 | 0.05 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21581 | 964.3 | Plasma | Polycheck | AI-STD-X | N/A | 0.01 | 0.05 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0.01 | 0.02 | 0.03 | 0.01 | 0.01 | 0.02 | 0.04 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21581 | 964.3 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.02 | 0.01 | 0.01 | 0.02 | 0.04 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21569 | 923.9 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0.01 | 0 | 0.01 | 0.04 | 0.05 | 0.02 | 0.04 | 0.02 | 0.03 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22172 | 802.3 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04 | 0.02 | 0.03 | 0.02 | 0.03 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22148 | 662 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.03 | 0.01 | 0.01 | 0.05 | 0.04 | 0.02 | 0.01 | 0.02 | 0.04 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22110 | 636.6 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.02 | 0.02 | 0.01 | 0.02 | 0.03 | 0.05 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21582 | 612.9 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.02 | 0.03 | 0.02 | 0.02 | 0.02 | 0.02 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21599 | 572 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.04 | 0.01 | 0.02 | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.01 | 0.02 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22154 | 489.9 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.02 | 0.02 | 0.03 | 0.03 | 0.01 | 0.02 | 0.04 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22118 | 433.5 | Plasma | Polycheck | AI-STD-X | DBN-4404149 | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.03 | 0.03 | 0.01 | 0.01 | 0.02 | 0.05 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22153 | 397.6 | Plasma | Polycheck | AI-STD-X | DBN-4404547 | 0 | 0 | 0.11 | 0 | 0 | 0 | 0 | 0.01 | 0.02 | 0.03 | 0.01 | 0.02 | 0.03 | 0.03 | 0.01 | 0.02 | 0.03 | 0.03 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22178 | 375.8 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0 | 0 | 0 | 0 | 0.03 | 0.61 | 0 | 0 | 0.04 | 0.04 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22137 | 287 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0.08 | 0.05 | 0.01 | 0 | 0 | 0 | 0 | 0.02 | 0.03 | 0.02 | 0.02 | 0.03 | 0.04 | 0.02 | 0.15 | 0.03 | 0.06 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22143 | 276.6 | Plasma | Polycheck | AI-STD-X | DBN-4404150 | 0.03 | 0.04 | 0.09 | 0.02 | 0.02 | 0 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.03 | 0.03 | 0.03 | 0.02 | 0.02 | 0.02 | 0.04 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21512 | 255.9 | Plasma | Polycheck | AI-STD-X | N/A | 47 | 0.04 | 0.09 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.05 | 0 | 0.02 | 0.04 | 0.05 | 0.02 | 0.03 | 0.03 | 0.06 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21512 | 255.9 | Plasma | Polycheck | AI-STD-X | N/A | 0.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21576 | 191.4 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0 | 0.01 | 0.01 | 0.02 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E20813 | 110.5 | Plasma | Polycheck | AI-STD-X | DBN-4403749 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.07 | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.04 | 0.03 | 0.09 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22186 | 93 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 0.06 | 0.04 | 0.03 | 0.02 | 0.02 | 0.03 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21882 | 66.3 | Serum | Polycheck | AI-STD-X | N/A | 0.02 | 0.04 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.41 | 0.03 | 0.03 | 0.01 | 0.06 | 0.01 | 0.01 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22156 | 46.6 | Plasma | Polycheck | AI-STD-X | DBN-4404154 | 0 | 6.6 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.06 | 0.03 | 0.05 | 0.01 | 0.02 | 0.02 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21834 | 31.2 | Serum | Polycheck | AI-STD-X | N/A | 0.04 | 0.03 | 0.07 | 0 | 0 | 0 | 0.01 | 0.01 | 0.03 | 0.19 | 0.02 | 0.03 | 0.04 | 0.06 | 0.02 | 0.03 | 0.03 | 0.05 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22459 | 30.7 | Serum | Polycheck | AI-STD-X | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.03 | 0.04 | 0.05 | 0 | 0 | 0 | 0 | 0.01 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22171 | 9 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0.01 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.01 | 0.07 | 0.03 | 0.02 | 0.02 | 0.02 | 0.02 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E19296 | 2 | Plasma | Polycheck | AI-STD-X | DBN-4403605 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E20872 | 1 | Plasma | Polycheck | AI-STD-X | DBN-4402012 | 0.02 | 0 | 0 | 0.82 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E21843 | 1 | Serum | Polycheck | AI-STD-X | N/A | 0.01 | 0.05 | 0.08 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0.01 | 0.03 | 0.01 | 0.01 | 0.03 | 0.04 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E22166 | 1 | Plasma | Polycheck | AI-STD-X | N/A | 0 | 0 | 0.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38 | 0 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive
Ab-E20764 | 1 | Serum | Polycheck | AI-STD-X | DBN-4403470 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.02 | 0.04 | KU/l | <0.3 = Negative, 0.3 - <0.8 = Borderline, 0.8 - <4.5 = Low Positive, 4.5 - <10 = Positive, 10+ = High Positive